INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

##### Title: Report from ExTAG WG 10 –Proficiency Testing

Circulation to: ExTAG Members

Introduction

This document sets out a report from Dr Uwe Klausmeyer Convenor of ExTAG WG 10 Proficiency Testing.

Michel Brenon

ExTAG Secretary

| Address: Standards Australia Building 286 Sussex Street Sydney NSW 2000 Australia | IECEx Secretariat Contact Details: Tel: +61 2 8206 6940 Fax: +61 2 8206 6272 e-mail: chris.agius@iecex.com http://www.iecex.com | ExTAG Secretary Mr Michel Brenon/LCIE Tel: +33 1 40 95 5519 Fax: +33 1 40 95 5520 e-mail michel.brenon@lcie.fr |
| --- | --- | --- |

Report of the convenor of ExTAG WG 10, Dr. Klausmeyer, for the ExTAG meeting in Berlin 2010

Progress report

One year of PTB Ex Proficiency Testing Program

As mentioned in ExTAG meeting in Melbourne, the PTB Ex Proficiency Testing Team started to establish the system for interlaboratory comparisons in explosion protection as planned with two hired engineers (Jia Wu, Tim Krause) in September 2009.The team has developed the first version of PTB Ex Proficiency Testing Program (pilot phase) for two types of protection, Flameproof enclosures (Test Round “d”) and Intrinsic safety (Test Round “i”). Today the team is extended even more and the work in this field becomes an important item at PTB.

Because of the unexpected high number of responding laboratories and the high effort, PTB has focussed the program on test rounds “d” and “i”.

As a next step a test round for type of protection “e” is intended.

From the beginning of the program our PTB team assists the participants in all kinds of questions and problems inclusive on site visits, if requested.

Test Samples

All test samples for both test rounds have been developed, produced, prepared and made available beginning in July 2010 for all participants.

The Test Sample “d” consists of a small and a large explosion chamber as well as an orifice.

The test sample “i” is an electronic box consisting of different kinds of circuits for determination of ignition probability. The installation cannot be changed during the complete Test Round “i“.

Design and conducted tests at PTB assure homogeneity and stability during the whole test rounds for all test samples.

Data based Information System

As a general basis of managing the whole Proficiency Testing Program a data-based information system has been established. The information system has been made available as an Internet platform by PTB. The system represents a comprehensive information base for all participants, it serves as a basis for the complete data exchange, organization, communication and coordination within the scope of the Ex Proficiency Testing Program. Data security and confidentiality are guaranteed.

The internet platform was activated in July 2010. You’ll find it at the following address:

http://www.Ex-Proficiency-Testing.ptb.de

Participating laboratories

We were positively overwhelmed about the interest and response after first information and offering the program to 52 ExTLs and candidates in February 2010. Altogether 32 laboratories have declared their participation in this pilot phase bindingly.

(see: List of participating laboratories in PTB Ex Proficiency Testing Program)

Compliance with international requirements

The whole program has been developed under the condition of compliance with ISO/IEC 17043 “Conformity assessment – General requirements for proficiency testing”. In the same way we consider the requirements of IECEx OD 012 and of ISO Guide 98-4 (Uncertainty of Measurement in Conformity Assessment)

The Test Rounds “d” and “i” are related to the standards IEC 60079-1 and

IEC 60079-11.

List of participating laboratories in PTB Ex Proficiency Testing Program

| Test laboratory | Country |
| --- | --- |
| Baseefa | United Kingdom |
| Bundesanstalt für Materialforschung und –prüfung (BAM) | Germany |
| Bureau Veritas Consumer Product Services GmbH | Germany |
| Central Mining Institute Experimental Mine "BARBARA" | Poland |
| CESI Centro Elettrotecnico Sperimentale Italiano S.p.A. | Italy |
| CSA International | Canada |
| DEKRA EXAM GmbH | Germany |
| Det Norske Veritas Certification AS (DNV) | Norway |
| ELECTRONICS REGIONAL TEST LABORATORY EAST | India |
| Ex-Agencija Laboratory for explosion protection ExLAB | Croatia |
| FM Approvals, LLC | USA |
| INERIS | France |
| Institut für Sicherheitstechnik IBExU | Germany |
| International Test and Cerification (ITACS) | Australia |
| Intertek | USA |
| Intertek Testing & Certification Ltd. | United Kingdom |
| ISSeP | Belgium |
| KEMA | Netherlands |
| Korea Gas Safety Corporation (KGS) | Korea |
| National Supervision and Inspection Center for Explosion Protection and Safety Instrumentation (NEPSI) | China |
| Physikalisch-Technische Bundesanstalt (PTB) | Germany |
| Physical Technical Testing Institute (FTZÚ) | Czech Republic |
| Simtars | Australia |
| Sira Test & Certification Ltd. | United Kingdom |
| Testing Laboratory of ExVÁ Ltd. | Hungary |
| TestSafe | Australia |
| TL CCVE (NANIO "CCVE") | Russia |
| UkrNIIVE ISCVE, Testing Certification Center of Explosion protected and mining Electrical Equipment | Ukraine |
| UL Demko | Denmark |
| Underwriters Laboratories Inc. | USA |
| VTT Expert Services Ltd. | Finland |
| Zelm Explosionsschutz GmbH | Germany |