| Reference No: | ExCB: |  |  |  |  |  | #### Page of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Field of application This form is to be used when assessing and testing electrical apparatus for explosive atmospheres according to the standard specified in the adjoining column. The test results are valid for the tested items only. Reproduction This report must not be reproduced other than in its entirety except with the prior written approval of the issuing body | Standard: # IEC 61779-1:1998 First Edition Electrical apparatus for the detection and measurement of flammable gases – Part 1: General requirements and test methods |  |  |  |  |  | ## Instructions for use to issuing ExCBs This is a simpler version of the ExTR and requires the following: 1) The Ex Test Laboratory to provide a Test Report, in English, for attachment to Section 2. A suitable format may be determined by the ExTL to satisfy this requirement. The Test laboratory should ensure that the specific requirements of each individual clause of the relevant Standard are clearly identified in the attached Test Report. 2) The issuing ExCB shall then ensure that there is a clear link between the clause in Section 1 and the location of the associated test result in Section 2. The manufacturer’s documents should include drawings and photographs. The comment columns can be used to e.g. specify test values, applied alternative requirements/tests or to refer to enclosed additional pages with comments. Each clause in this ExTR form must contain an entry of either “Pass” or “Fail” or “N/A” Abbreviations: N/A = Not applicable for the assessment/test of the equipment and its design documentation. The applicant is the body/person who has requested the assessment/test and to which the results, as specified in this report, are provided |  |  |  |
|  | Amendments: None |  |  |  |  |  |  |  |  |  |
| This test report may only be used for the IECEx Scheme and must be accompanied by an ExTR cover page issued by an ExCB |  |  |  |  |  |  |  |  |  |  |
| ## Product name |  |  |  |  |  | # Model/Type designation |  |  |  |  |
| Serial No |  |  | Code (e.g. Ex II T ) |  |  |  |  | Ambient temperature [min-max] |  |  |
| Applicant [name and postal address] |  |  |  |  |  | Manufactured by [name and postal address] |  |  |  |  |
| Test sample received [date] |  |  |  |  |  |  |  |  |  |  |
| ## Product description |  |  |  |  |  |  |  |  |  |  |
| The equipment complies with the standard [yes/no] |  | ## Prepared by |  |  |  |  |  |  |  | Date [year-month-day] |
|  |  | [signature] |  |  |  |  |  |  |  |  |

| Reference No: |  | ExCB: |  |  |  | Page of |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Clause |  | Results |  |  |  |  |  |
|  |  | Pass | Fail | N/A | Comments |  | ExCB Review |
| 1 | General |  |  |  |  |  |  |
| 1.1 | Scope |  |  |  |  |  |  |
| 1.2 | Normative references |  |  |  |  |  |  |
| 2 | Definitions |  |  |  |  |  |  |
| 3 | General requirements |  |  |  |  |  |  |
| 3.1 | Introduction |  |  |  |  |  |  |
| 3.1.1 | The apparatus shall comply with both the requirements of this standard and the appropriate standard(s) listed in 1.1.1 |  |  |  |  |  |  |
|  | Claims by manufacturer |  |  |  |  |  |  |
| 3.1.2 See also DS 2018/001 | Electrical assemblies and components |  |  |  |  |  |  |
| 3.1.3 | Group I apparatus |  |  |  |  |  |  |
| 3.1.4 | Design of software-controlled apparatus |  |  |  |  |  |  |
| 3.2 | Construction |  |  |  |  |  |  |
| 3.2.1 | General |  |  |  |  |  |  |
| 3.2.2 | Indicating devices |  |  |  |  |  |  |
| 3.2.2.1 | An indication shall be provided to show that the apparatus is energized. |  |  |  |  |  |  |
| 3.2.2.2 | Alarm-only apparatus or apparatus where the resolution of the read-out device is inadequate to demonstrate compliance with this standard |  |  |  |  |  |  |
| 3.2.2.3 | Where a read-out device is inadequate |  |  |  |  |  |  |
| 3.2.2.4 | Apparatus with more than one measuring range |  |  |  |  |  |  |
| 3.2.2.5 | Coloured indicating lights |  |  |  |  |  |  |
| 3.2.2.6 | Labelling of indicator lights |  |  |  |  |  |  |
| 3.2.3 | Alarm or output functions |  |  |  |  |  |  |
| 3.2.3.1 | Continuous duty apparatus |  |  |  |  |  |  |
| 3.2.3.2 | Group ll portable apparatus indicating up to 100% LFL |  |  |  |  |  |  |
| 3.2.4 | Fault signals |  |  |  |  |  |  |
| 3.2.5 | Adjustments |  |  |  |  |  |  |
| 3.2.6 | Battery-powered apparatus |  |  |  |  |  |  |
| 3.3 | Labelling and marking |  |  |  |  |  |  |
| 3.4 | Instruction manual |  |  |  |  |  |  |
| 3.5 See also DS 2002/002A | Diffusion sensors Requirements are being prepared1 |  |  |  |  |  |  |
| 4 | Test methods |  |  |  |  |  |  |
| 4.1 | Introduction |  |  |  |  |  |  |
| 4.2 | General requirements for tests |  |  |  |  |  |  |
| 4.2.1 | Samples and sequence of tests |  |  |  |  |  |  |
| 4.2.1.1 | Type testing to be carried out on one apparatus, except for tests to 4.2.1.2 |  |  |  |  |  |  |
| 4.2.1.2 | The apparatus shall be subjected to all of the tests applicable to that type of apparatus |  |  |  |  |  |  |
| 4.2.1.3 | Constructional tests of 3.2 where applicable |  |  |  |  |  |  |
| 4.2.1.4 | Apparatus having more than one selectable range or scale |  |  |  |  |  |  |
| 4.2.2 | Preparation of apparatus before testing |  |  |  |  |  |  |
| 4.2.3 | Mask for calibration and tests |  |  |  |  |  |  |
| 4.3 | Normal conditions for test |  |  |  |  |  |  |
| 4.3.1 | General |  |  |  |  |  |  |
| 4.3.2 | Test gas(es) |  |  |  |  |  |  |
| 4.3.3 | Standard test gas |  |  |  |  |  |  |
| 4.3.4 | Flow rate for test gases |  |  |  |  |  |  |
| 4.3.5 | Voltage |  |  |  |  |  |  |
| 4.3.6 | Ambient temperature |  |  |  |  |  |  |
| 4.3.7 | Pressure |  |  |  |  |  |  |
| 4.3.8 | Humidity |  |  |  |  |  |  |
| 4.3.9 | Stabilisation time |  |  |  |  |  |  |
| 4.3.10 | Orientation |  |  |  |  |  |  |
| 4.4 | Test methods |  |  |  |  |  |  |
| 4.4.1 | General |  |  |  |  |  |  |
| 4.4.2 | Unpowered storage |  |  |  |  |  |  |
| 4.4.3 | Calibration and adjustment |  |  |  |  |  |  |
| 4.4.3.1 | Initial preparation of the apparatus |  |  |  |  |  |  |
| 4.4.3.2 | Calibration curve (not applicable to alarm-only apparatus) |  |  |  |  |  |  |
| 4.4.3.3 | Response to different gases (not applicable to alarm-only apparatus) |  |  |  |  |  |  |
| 4.4.4 | 4.4.4 Stability (continuous duty apparatus only) NOTE – For these tests, the apparatus may be powered by an external supply. |  |  |  |  |  |  |
| 4.4.4.1 | Short-term stability |  |  |  |  |  |  |
| 4.4.4.2 | Long-term stability (fixed and transportable apparatus - group I only) |  |  |  |  |  |  |
| 4.4.4.3 | Long-term stability (portable apparatus - group I only) |  |  |  |  |  |  |
| 4.4.4.4 | Long-term stability (fixed and transportable apparatus - group II only) |  |  |  |  |  |  |
| 4.4.4.5 | Long-term stability (portable apparatus - group II only) |  |  |  |  |  |  |
| 4.4.5 | Stability (spot-reading apparatus only) |  |  |  |  |  |  |
| 4.4.5.1 | Group I spot-reading apparatus indicating up to a volume fraction of 5 % methane and all group II spot-reading apparatus |  |  |  |  |  |  |
| 4.4.5.2 | Group I spot-reading apparatus indicating up to a volume fraction of 100 % methane |  |  |  |  |  |  |
| 4.4.6 | Alarm set point(s) |  |  |  |  |  |  |
| 4.4.7 | Temperature |  |  |  |  |  |  |
| 4.4.8 | Pressure |  |  |  |  |  |  |
| 4.4.9 | Humidity |  |  |  |  |  |  |
| 4.4.10 | Air velocity |  |  |  |  |  |  |
| 4.4.10.1 | General |  |  |  |  |  |  |
| 4.4.10.2 | Test conditions |  |  |  |  |  |  |
| 4.4.11 | Flow rate |  |  |  |  |  |  |
| 4.4.12 | Orientation |  |  |  |  |  |  |
| 4.4.12.1 | Portable apparatus |  |  |  |  |  |  |
| 4.4.12.2 | Fixed and transportable apparatus |  |  |  |  |  |  |
| 4.4.13 | Vibration |  |  |  |  |  |  |
| 4.4.13.1 | Apparatus |  |  |  |  |  |  |
| 4.4.13.2 | Procedures |  |  |  |  |  |  |
| 4.4.13.2.1 | Method of test |  |  |  |  |  |  |
| 4.4.13.2.2 | Procedure 1 |  |  |  |  |  |  |
| 4.4.13.2.3 | Procedure 2 |  |  |  |  |  |  |
| 4.4.13.2.4 | Conclusion of test |  |  |  |  |  |  |
| 4.4.14 | Drop test for portable apparatus |  |  |  |  |  |  |
| 4.4.14.1 | Method of test |  |  |  |  |  |  |
| 4.4.14.2 | Number of drop tests and different sides |  |  |  |  |  |  |
| 4.4.14.3 | Result of test |  |  |  |  |  |  |
| 4.4.14.4 | Sensing portion of the apparatus |  |  |  |  |  |  |
| 4.4.15 | Warm-up time (not applicable to spot-reading apparatus) |  |  |  |  |  |  |
| 4.4.16 | Time of response (not applicable to spot-reading apparatus) |  |  |  |  |  |  |
| 4.4.17 | Minimum time to operate (spot-reading apparatus) |  |  |  |  |  |  |
| 4.4.18 | High gas concentration operation above the measuring range (applicable only to apparatus indicating up to a volume fraction of 5 % methane or 100 % LFL) |  |  |  |  |  |  |
| 4.4.18.1 | Non-ambiguity test |  |  |  |  |  |  |
| 4.4.18.2 | Residual effect |  |  |  |  |  |  |
| 4.4.18.2.1 | Spot-reading apparatus |  |  |  |  |  |  |
| 4.4.18.2.2 | Apparatus other than spot-reading apparatus |  |  |  |  |  |  |
| 4.4.19 | Battery capacity |  |  |  |  |  |  |
| 4.4.19.1 | Battery-powered portable continuous duty apparatus |  |  |  |  |  |  |
| 4.4.19.1.1 | Conditions at start of test |  |  |  |  |  |  |
| 4.4.19.1.2 | Low battery condition |  |  |  |  |  |  |
| 4.4.19.2 | Battery-powered portable spot-reading apparatus |  |  |  |  |  |  |
| 4.4.19.2.1 | Conditions at start of test |  |  |  |  |  |  |
| 4.4.19.2.2 | Cycle of operations |  |  |  |  |  |  |
| 4.4.20 | Power supply variations |  |  |  |  |  |  |
| 4.4.20.1 | General |  |  |  |  |  |  |
| 4.4.20.2 | A.C and d.c. powered apparatus |  |  |  |  |  |  |
| 4.4.20.3 | Other power supply ranges |  |  |  |  |  |  |
| 4.4.21 | Power supply interruptions, voltage transients and step changes of voltage |  |  |  |  |  |  |
| 4.4.21.1 | General |  |  |  |  |  |  |
| 4.4.21.2 | Short interruption of power supply |  |  |  |  |  |  |
| 4.4.21.3 | Voltage transients |  |  |  |  |  |  |
| 4.4.21.4 | Step changes of voltage without interruption |  |  |  |  |  |  |
| 4.4.22 | Addition of sampling probe |  |  |  |  |  |  |
| 4.4.23 | Dust (for apparatus where the air is sampled by natural diffusion only) |  |  |  |  |  |  |
| 4.4.24 | Poisons and other gases |  |  |  |  |  |  |
| 4.4.24.1 | Poisons (applicable only to group I apparatus with catalytic sensors) |  |  |  |  |  |  |
|  | Claimed tolerance to other materials by manufacturer |  |  |  |  |  |  |
| 4.4.24.2 | Other gases |  |  |  |  |  |  |
| 4.4.25 | Electromagnetic compatibility |  |  |  |  |  |  |
| 5 | Field calibration kit |  |  |  |  |  |  |
| Annex A (normative) | Flammability limits (i.e. LFL and UFL) of some flammable gases and vapours |  |  |  |  |  |  |
| Annex B (informative) | Determination of time of response |  |  |  |  |  |  |
| Annex C (informative) | Bibliography |  |  |  |  |  |  |

| Section 2 To be completed by ExTL # IEC 61779-1 : 1998 EVALUATION RECORD Electrical apparatus for the detection and measurement of flammable gases – ##### Part 1: General requirements and test methods ExTL to attach an Evaluation Record (Test Report) in English In the ExTL’s own format. |  |
| --- | --- |
| ### Report |  |
| Reference No. |  |
| Tested by ( + signature) Approved by (+ signature) Date of issue Content |  |
| This report is based on a standard format prepared by CSA International |  |
| Client |  |
| Name Address |  |
| Testing laboratory |  |
| Name Address Testing location |  |
| Test item Standard IEC 61779-1 Description. Trademark. Model and/or type reference Manufacturer |  |

| Test Item (continued) Rating(s) Type of transformers (where relevant) Application Protection index Other characteristics Rated ambient temperature ta (OC) | stationary / portable / hand-held IP |
| --- | --- |
| Other information |  |

General remarks This evaluation record is not valid unless appended to an IECEx Test Report issued by an ExCB, in accordance with IECEx 02. This evaluation record shall not be reproduced except in full without the written approval of the testing laboratory. The test results presented in this evaluation record relate only to the item tested.

Copy of marking plate

| ## MANUFACTURER'S DOCUMENTS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Subject | Drawing No. | Rev. | Date |