| Reference No: | ExCB: |  |  |  |  |  | #### Page of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Field of application This form is to be used when assessing and testing electrical apparatus for explosive atmospheres according to the standard specified in the adjoining column. The test results are valid for the tested items only. Reproduction This report must not be reproduced other than in its entirety except with the prior written approval of the issuing body | Standard: # IEC 61779-5:1998 First Edition Electrical apparatus for the detection and measurement of flammable gases – Part 5: Performance requirements for group II apparatus indicating a volume fraction up to 100 % gas |  |  |  |  |  | ## Instructions for use to issuing ExCBs This is a simpler version of the ExTR and requires the following: 1) The Ex Test Laboratory to provide a Test Report, in English, for attachment to Section 2. A suitable format may be determined by the ExTL to satisfy this requirement. The Test laboratory should ensure that the specific requirements of each individual clause of the relevant Standard are clearly identified in the attached Test Report. 2) The issuing ExCB shall then ensure that there is a clear link between the clause in Section 1 and the location of the associated test result in Section 2. The manufacturer’s documents should include drawings and photographs. The comment columns can be used to e.g. specify test values, applied alternative requirements/tests or to refer to enclosed additional pages with comments. Each clause in this ExTR form must contain an entry of either “Pass” or “Fail” or “N/A” Abbreviations: N/A = Not applicable for the assessment/test of the equipment and its design documentation. The applicant is the body/person who has requested the assessment/test and to which the results, as specified in this report, are provided. |  |  |  |
|  | Amendments: None |  |  |  |  |  |  |  |  |  |
| This test report may only be used for the IECEx Scheme and must be accompanied by an ExTR cover page issued by an ExCB. |  |  |  |  |  |  |  |  |  |  |
| ## Product name |  |  |  |  |  | # Model/Type designation |  |  |  |  |
| Serial No |  |  | Code (e.g. Ex II T ) |  |  |  |  | Ambient temperature [min-max] |  |  |
| Applicant [name and postal address] |  |  |  |  |  | Manufactured by [name and postal address] |  |  |  |  |
| Test sample received [date] |  |  |  |  |  |  |  |  |  |  |
| ## Product description |  |  |  |  |  |  |  |  |  |  |
| The equipment complies with the standard [yes/no] |  | ## Prepared by |  |  |  |  |  |  |  | Date [year-month-day] |
|  |  | [signature] |  |  |  |  |  |  |  |  |

| Reference No: |  | ExCB: |  |  |  | Page of |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Clause |  | Results |  |  |  |  |  |
|  |  | Pass | Fail | N/A | Comments |  | ExCB Review |
| 1 | Scope |  |  |  |  |  |  |
| 2 | Definitions |  |  |  |  |  |  |
| 3 | General requirements |  |  |  |  |  |  |
| 4 | Performance requirements |  |  |  |  |  |  |
| 4.1 | General |  |  |  |  |  |  |
| 4.2 | Unpowered storage |  |  |  |  |  |  |
| 4.3 | Calibration curve (not applicable to alarm-only apparatus) |  |  |  |  |  |  |
| 4.3.1 | Calibration curve |  |  |  |  |  |  |
| 4.3.2 | Response to gases other than the test gas |  |  |  |  |  |  |
| 4.4 | Stability (continuous duty apparatus) |  |  |  |  |  |  |
| 4.5 | Stability (spot-reading apparatus) |  |  |  |  |  |  |
| 4.6 | Alarm |  |  |  |  |  |  |
| 4.7 | Temperature |  |  |  |  |  |  |
| 4.7.1 | Apparatus where the control unit and sensors are used in the same environment |  |  |  |  |  |  |
| 4.7.2 | Remote sensors of apparatus where the control unit and sensor are not used in the same environment |  |  |  |  |  |  |
| 4.7.3 | Control units, of apparatus where the control unit and sensor are not used in the same environment |  |  |  |  |  |  |
| 4.8 | Pressure |  |  |  |  |  |  |
| 4.9 | Humidity |  |  |  |  |  |  |
| 4.10 | Air Velocity |  |  |  |  |  |  |
| 4.11 | Flow rate |  |  |  |  |  |  |
| 4.12 | Orientation |  |  |  |  |  |  |
| 4.13 | Vibration |  |  |  |  |  |  |
| 4.14 | Drop test (applicable to portable apparatus and remote sensors) |  |  |  |  |  |  |
| 4.15 | Warm-up time (not applicable to spot-reading apparatus) |  |  |  |  |  |  |
| 4.15.1 | Fixed and transportable apparatus |  |  |  |  |  |  |
| 4.15.2 | Continuous duty portable apparatus |  |  |  |  |  |  |
| 4.16 | Time of response (not applicable to spot-reading apparatus) |  |  |  |  |  |  |
| 4.17 | Minimum time to operate (spot-reading apparatus) |  |  |  |  |  |  |
| 4.18 | High gas concentrations above the measuring range Not applicable |  |  |  |  |  |  |
| 4.19 | Battery capacity |  |  |  |  |  |  |
| 4.19.1 | Battery-powered portable continuous duty apparatus |  |  |  |  |  |  |
| 4.19.2 | Battery-powered portable spot-reading apparatus |  |  |  |  |  |  |
| 4.20 | Power supply variations |  |  |  |  |  |  |
| 4.20.1 | General No requirement |  |  |  |  |  |  |
| 4.20.2 | AC powered apparatus |  |  |  |  |  |  |
| 4.20.3 | External d.c. powered apparatus |  |  |  |  |  |  |
| 4.20.4 | Other power supply ranges |  |  |  |  |  |  |
| 4.20.5 | Battery-powered apparatus |  |  |  |  |  |  |
| 4.21 | Power supply interruptions, voltage transients and step changes of voltage |  |  |  |  |  |  |
| 4.22 | Addition of sampling probe |  |  |  |  |  |  |
| 4.23 | Dust |  |  |  |  |  |  |
| 4.24 | Poisons and other gases Not applicable |  |  |  |  |  |  |
| 4.24.1 | Poisons Not applicable |  |  |  |  |  |  |
| 4.24.2 | Other gases Not applicable |  |  |  |  |  |  |
| 4.25 | Electromagnetic compatibility |  |  |  |  |  |  |
| 5 | Field calibration kit |  |  |  |  |  |  |

| Section 2 EVALUATION RECORD To be completed by ExTL # IEC 61779-5 : 1998 Electrical apparatus for the detection and measurement of flammable gases – Part 5: Performance requirements for group II apparatus indicating a volume fraction up to 100 % gas ExTL to attach an Evaluation Record (Test Report) in English In the ExTL’s own format. |  |
| --- | --- |
| ### Report |  |
| Reference No. |  |
| Tested by ( + signature) Approved by (+ signature) Date of issue Content |  |
| This report is based on a standard format prepared by CSA International |  |
| Client |  |
| Name Address |  |
| Testing laboratory |  |
| Name Address Testing location |  |
| Test item Standard IEC 61779-5 Description. Trademark. Model and/or type reference Manufacturer |  |

| Test Item (continued) Rating(s) Type of transformers (where relevant) Application Protection index Other characteristics Rated ambient temperature ta (OC) | stationary / portable / hand-held IP |
| --- | --- |
| Other information |  |

General remarks This evaluation record is not valid unless appended to an IECEx Test Report issued by an ExCB, in accordance with IECEx 02. This evaluation record shall not be reproduced except in full without the written approval of the testing laboratory. The test results presented in this evaluation record relate only to the item tested.

Copy of marking plate

| ## MANUFACTURER'S DOCUMENTS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Subject | Drawing No. | Rev. | Date |