| IECEx TEST REPORT IEC 60079-30-1 Explosive Atmospheres - Electrical Resistance Trace Heating - General and testing requirements Part 30-1: Heat Tracing |  |  |  |
| --- | --- | --- | --- |
| ExTR Reference Number : |  |  |  |
| ExTR Free Reference Number : |  |  |  |
| Complied by + signature (ExTL) : |  |  |  |
| Reviewed by + signature (ExTL) : |  |  |  |
| Date of issue : |  |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |  |
| Address : |  |  |  |
| Applicant’s name : |  |  |  |
| Address : |  |  |  |
| Standard : | IEC 60079-30-1:2007 |  |  |
| Test procedure : | IECEx Scheme |  |  |
| Test Report Form No. : | ExTR60079-30-1/Version1/DS |  |  |
| TRF Originator : | PTB Physikalisch-Technische Bundesanstalt |  |  |
| Master TRF : | dated 2019-12 |  |  |
| NOTE: If an IECEx Quality Assessment Report (QAR) is associated with this IECEx Test Report (ExTR), the associated QAR shall be in accordance with DS 2018/001. |  |  |  |
| Instructions for Intended Use of Ex Test Report: This ExTR blank document is to be compiled and reviewed by the ExTL. The ExTR package in which this ExTR is incorporated (comprised of a single ExTR document or multiple ExTR documents) is to be accompanied by a single ExTR Cover Sheet, which is to be approved by the ExCB. ExTR Addendum(s) and/or ExTR Report of National Differences may also supplement this ExTR. |  |  |  |
| Copyright © 2007 International Electrotechnical Commission Scheme for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx), Geneva, Switzerland. All rights reserved. This publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx is acknowledged as copyright owner and source of the material. IECEx takes no responsibility for and will not assume liability for damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |  |
| Possible test case verdicts: |  |  |  |
| - test case does not apply to the test object :N / A |  |  |  |
| - test object does meet the requirement :Pass |  |  |  |
| General remarks: The test results presented in this report relate only to the object tested. This report shall not be reproduced except in full without the written approval of the testing laboratory. "(see Attachment #)" refers to additional information appended to the report. "(see appended table)" refers to a table appended to the report. Throughout this report a point is used as the decimal separator. |  |  |  |

| IEC 60079-30-1 |  |  |  |
| --- | --- | --- | --- |
| Clause | Requirement – Test | Result – Remark | Verdict |
| 1 | SCOPE |  |  |
| 2 | NORMATIVE REFERENCES |  |  |
| 3 | DEFINITIONS |  |  |
| 4 | GENERAL REQUIREMENTS |  |  |
| 4.1 | General |  |  |
| 4.2 | Terminations and connections |  |  |
| 4.3 | Circuit protection requirements for branch circuits |  |  |
| 4.3 a) | All line conductors isolation |  |  |
| 4.3 b) | Over-current protection |  |  |
| 4.3 c) | Type of system earthing |  |  |
| 4.3 d) | Earth fault protection for TT and TN systems |  |  |
| 4.3 e) | Earth fault protection for IT systems |  |  |
| 4.4 | Control and temperature requirements |  |  |
| 4.4.1 | General |  |  |
| 4.4.2 | Stabilized design for zone 1 and zone 2 applications |  |  |
| 4.4.3 | Controlled design |  |  |
| 4.4.3 a) | Zone 1 applications |  |  |
| 4.4.3 a) 1) | Hand resetting |  |  |
| 4.4.3 a) 2) | Resetting conditions |  |  |
| 4.4.3 a) 3) | Tool or key lock |  |  |
| 4.4.3 a) 4) | Secured temperature setting |  |  |
| 4.4.3 a) 5) | Sensor failing control |  |  |
| 4.4.3 b) | Zone 2 applications |  |  |
| 4.4.3 Note | Instructions for selection and installation |  |  |
| 5 | Testing |  |  |
| 5.1 | Type tests |  |  |
| 5.1.1 | General |  |  |
| 5.1.2 | Dielectric test |  |  |
| 5.1.3 | Electrical insulation resistance test |  |  |
| 5.1.4 | Flammability test |  |  |
| 5.1.5 | Impact test |  |  |
| 5.1.6 | Deformation test |  |  |
| 5.1.7 | Cold bend test |  |  |
| 5.1.8 | Water resistance test |  |  |
| 5.1.9 | Integral components resistance to water test |  |  |
| 5.1.10 | Verification of rated output |  |  |
| 5.1.10 a) | Resistance |  |  |
| 5.1.10 b) | Thermal |  |  |
| 5.1.11 | Thermal stability of electrical insulating material |  |  |
| 5.1.12 | Thermal safety requirements |  |  |
| 5.1.13 | Determination of max. sheath temperature |  |  |
| 5.1.13.1 | General |  |  |
| 5.1.13.1 a) | System approach |  |  |
| 5.1.13.1 b) | Product classification |  |  |
| 5.1.13.2 | System approach, design verification method |  |  |
| 5.1.13.2.1 | Trace heaters |  |  |
| 5.1.13.2.2 | Pads, panels and other surface trace heaters |  |  |
| 5.1.13.2.3 | Alternates |  |  |
| 5.1.13.3 | Product classification approach |  |  |
| 5.1.14 | Verification of start-up current |  |  |
| 5.1.15 | Verification of the electrical resistance of metallic covering |  |  |
| 5.2 | Routine tests |  |  |
| 5.2.1 | Dielectric test |  |  |
| 5.2.2 | Verification of rated output |  |  |
| 6 | MARKING |  |  |
| 6.1 | Product markings for trace heaters |  |  |
| 6.1 a) | Type of protection |  |  |
| 6.1 b) | Serial or batch number |  |  |
| 6.1 c) | Voltage |  |  |
| 6.1 d) | Power/resistance/current |  |  |
| 6.2 | Markings for field-assembled components |  |  |
| 6.2 a) | Date/serial number/… |  |  |
| 6.2 b) | Environmental requirements/ area use requirements |  |  |
| 6.3 | Installation instructions |  |  |
| 6.3 a) | Intended use |  |  |
| 6.3 b) | Suitable for use with |  |  |
| 6.3 c) | Ground fault equipment protection |  |  |
| 6.3 d) | De-energizing |  |  |
| 6.3 e) | Keep ends dry-statement |  |  |
| 6.3 f) | Low risk of mechanical damage |  |  |
| 6.3 g) | Earthing of the metal sheath |  |  |
| 6.3 h) | Signs or -markings for presence |  |  |