- INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE:  Draft Revised DS 2017/003 – Application of IEC 60079-28

- Circulated to: ExTAG – IECEx Testing and Assessment Group and MT Convener

INTRODUCTION

Draft Decision Sheet ExTAG/451/CD – Application of IEC 60079-28, was circulated in April 2017 with the introduction of that document detailing the background to the issue and references to the discussions held during the ExTAG 2015 and ExTAG 2106 Meetings, along with the discussions within TC 31 WG22.

Following receipt of comment document ExTAG/464/CC.  These were considered with the ExTAG Chair accepting the recommendation of the expert responsible for ExTAG/451/CD and agreed that the Draft DS be published.  This was published as DS 2017/003 during August 2017.

A discussion was taken during the ExTAG Day 2 meeting on 26 September 2017 in Washington where ExTAG agreed to add the following statement at the end of the DS 2017/003

“This Decision sheet applies to newly issued Certificates and up issues of existing Certificates”

During the ExMC 2017 Washington meeting, which immediately followed the ExTAG 2017 meeting, DS 2017/003 was raised from the floor by US during ExMC Agenda item 14.1 – ExTAG Reporting to ExMC informing of new information coming to hand where following considerable discussion, ExMC agreed that the DS 2017/003 should be recirculated to take into account this latest information.

Therefore the IECEx Secretariat has prepared this draft revision of DS 2017/003 (ExTAG/484/CD) with changes to DS 2017/003 shown in red text for insertions and strike thru for deletions

Please submit comments using the comments table, a separate document by -

2017 11 29 to   Christine.kane@iecex.com

| Address: IECEx Secretariat Level 33 Australia Square 264 George Street Sydney NSW 2000 Australia Web: iwww.iecex.com | Contact Details: Tel: +61 2 4628 4690 Fax: +61 2 4627 5285 e-mail:info@iecex.com http://www.iecex.com |
| --- | --- |

COLLECTION OF IECEx / ExTAG DECISION

| Standard: IEC 60079-0:2017 (Ed 7.0 at FDIS) IEC 60079-0:2011 (Edition 6.0) IEC 60079-0:2007 (Edition 5.0) IEC 60079-28:2015 (Edition 2.0) IEC 60079-28:2006 (First Edition), including I-SH 01 | Clause: 6.6.4 6.6.2 6.6.2 1 1 | ExTAG/484/CD |
| --- | --- | --- |
| Subject: Applicability of IEC 60079-28, especially regarding LED light sources Status of document: Draft | Key words: - Optical radiation - Light-emitting diode - LED - Luminaire | - Date: 2017 10 17 Originator of original proposals: IECEx Secretariat, Date: 2017 03 30 Originator of this text Ron Sinclair, on behalf of WG22, taking account of previous proposals TC/SC involved: IEC/TC 31 WG 22, IEC/TC 31 MT 60079-28 |
| Background Various interpretations are being made by IECEx ExCB and ExTL staff regarding the applicability of IEC 60079-28 in the context of clause 6.6.2 of IEC 60079-0:2011. This is further complicated in that not all ExCBs and ExTLs have IEC 60079-28 in their IECEx scope. Many of the problems are related to the fact that clause 6.6.2 of IEC 60079-0:2011 only refers to IEC 60079-28 in a note, and therefore there is the possibility that the note may be disregarded and IEC 60079-28 is not applied in all situations where it is relevant. The potential confusion is compounded by the wording of the Scope exceptions of IEC 60079-28. It is also noted that the Scope of the first and second editions of IEC 60079-28 are different. Accordingly, IECEx asked the maintenance teams for IEC 60079-0 and IEC 60079-28 to review the relevant text in both documents to ensure that the requirements for the application of IEC 60079-28 are absolutely clear. IEC TC31 WG22 responded at its meeting during March in Sydney and has included an additional clause in the FDIS text of Edition 7 of the standard which is expected to be published in late 2017. 6.6.4 Lasers, luminaires, and other non-divergent continuous wave optical sources The requirements for lasers, luminaires, and other non-divergent continuous wave optical sources such as LED luminaires, torches, and optical fibre transmitters / receivers are contained in IEC 60079 28. This ExTAG Decision Sheet is intended as an interim measure to ensure all ExCBs and ExTLs operate on the same basis until Edition 7 of IEC 60079-0 is published and to ensure that all ExCBs and ExTLs fully complete the ExTR in respect of Clause 6.6.4 of the new edition. Question: When should the requirements of IEC 60079-28 be applied to Ex Equipment, especially regarding LED light sources? Answer: The risk of ignition due to optical radiation hazards shall always be addressed. In noting current work within IEC TC 31 concerning both IEC 60079-0 and IEC 60079-28, ExCBs and ExTLs are required to apply Clause 6.6.2 of IEC 60079-0 by assessing Light sources contained within Ex equipment be assessed to - Determine whether they are or are not of the Non-Divergent, Continuous Wave Source type as specified in IEC 60079-0; and - Those that are assessed as being of the Non-Divergent, Continuous Wave Source type, that their output power or irradiance is measured to determine whether the limits included in Clause 6.6.2 of IEC 60079-0:2011 or IEC 60079-0:2007, as applicable, are complied with The first consideration to be made is regarding the Scope exclusions in IEC 60079-28. Regarding LED light sources in a luminaire, such can only be excluded from IEC 60079-28 using the Scope exclusion in respect of EPLs Gc and Dc, Where none of the Scope exclusions in IEC 60079-28 apply, then the Ignition Hazard Assessment (IHA) process described in the normative Annex C to IEC 60079-28:2015 (as referenced by Clause 4, “General requirements”) shall be applied to all equipment containing a light source, including luminaires, laser devices, etc. The result of this IHA shall be recorded on the ExTR report format for IEC 60079-28 at clause 4. The indication of the application of, and compliance with, the “op is”, “op pr” or “op sh” requirements is suitable IHA documentation. In order to make it absolutely clear to the market place that the applicability of IEC 60079-28 has been considered, all equipment involving optical radiation (whether in or out of the scope of IEC 60079-28) shall comply with one of the following: - Include the full reference to IEC 60079-28 on the second sheet of the certificate, incorporating the required marking into the marking string; or - Include the following text in the “Equipment” field of the certificate: “The optical radiation output of the apparatus with respect to explosion protection is covered in this certificate based on Exception [X] to the scope of IEC 60079-28:2015.” Note: The reference to [X]” is to be replaced by the actual Exception 1), 2), 3), 4) or 5) that applies from IEC 60079-28:2015. Where option 2 has been applied, and an ExTR report section for IEC 60079-28 is not included in the ExTR report, the record of the decision, with any necessary justification, shall be recorded in the ExTR report section for IEC 60079-0 at clause 6.6.2. Additional information: ExTLs and ExCBs do not need to have IEC 60079-28 in their IECEx Scope in order to evaluate compliance with Clause 6.6.2 of IEC 60079-0:2011 or IEC 60079-0:2007, as applicable, use Option 2 but may subcontract to another ExTL or other Test Laboratory following evaluation of that laboratory using the ExTL’s own internal Assessment of Subcontractors procedures. It has been found that manufacturers of luminaires are not always aware of IEC 60079-28 and that they have submitted luminaires (particularly of Ex d construction) where the use of high power LEDs mounted close to the front glass has caused the luminaire to fail the test requirements of IEC 60079-28. It should be noted that either output power or irradiance criteria can be used, and that it is not uncommon to not comply with the output power criteria, but comply with the irradiance criteria. This Decision sheet applies to newly issued Certificates and up issues of existing Certificates |  |  |