INTERNATIONAL ELECTROTECHNICAL COMMISSION SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)

TITLE:  Compilation of comments and observations on ExTAG/411A/CD a revision of ExTAG/411/CD ExTAG Draft Decision Sheet – Enhanced clearance and creepage distances for equipment of Level of Protection “ec”

- Circulated to: ExTAG – IECEx Testing and Assessment Group

INTRODUCTION

This document is a compilation of comments from ExTAG, as well as observations, from the originator, UL LLC, on ExTAG/411A/CD a revision of ExTAG/411/CD ExTAG Draft Decision Sheet – Enhanced clearance and creepage distances for equipment of Level of Protection “ec”

Based on the comments received ExTAG Members and MT Conveners are asked to review this document and to inform the IECEx Secretariat if their comments have not been captured or fully captured.

As a result of all comments received being positive Decision Sheet DS 2016/001 has now been published and posted to the IECEx Web Site.

On behalf of Mr. Gauthier

- Julien Gauthier

Julien Gauthier

ExTAG Secretary

| Address: IECEx Secretariat Level 33 Australia Square 264 George Street Sydney NSW 2000 Australia Web: www.iecex.com | ExTAG Secretary Mr Julien Gauthier LCIE S.A. 33 Avenue du General Leclerc 92260 Fontenay-aux-Roses FRANCE Tel: +33 1 40 95 55 26 Fax: +33 1 40 95 89 37 Email : julien.gauthier@fr.bureauveritas.com |
| --- | --- |

| ExCB/ ExTL | Clause/ Sub- clause | Paragraph Figure/ Table | Type of comment General/ technical/editorial | Comments | Proposed changes | Observation (to be completed by the originator) |
| --- | --- | --- | --- | --- | --- | --- |
| CNEX-Global BV |  |  |  | Accepted without changes |  | Noted |
| DEKRA Certification B.V. NL |  |  | g | We agree with this draft DS. |  | Noted |
| Kiwa Nederland (unit Kiwa ExVision) | -- | -- | G | Kiwa supports the proposed IECEx Decision sheet (ref. ExTAG/411A/CD |  | Noted |
| LCIE FR |  |  |  | LCIE supports the document |  | Noted |
| NANIO CCVE RU |  |  | General | We support ExTAG/411A/CD without any comments |  | Noted |
| NCC (BR) | 4.3 4.4.1 |  | General | We support ExTAG/411A/CD without any comments. |  | Noted |
| NEPSI |  |  | G | We support this draft decision. |  | Noted |
| TIIS, JAPAN |  |  | G |  | TIIS supports ExTAG/411A/CD without comments. | Noted |
| UL/ DEMKO DK |  |  |  | UL Demko would like to support ExTAG/411A/CD without comment |  | Noted |