**INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) SYSTEM FOR CERTIFICATION TO STANDARDS RELATING TO EQUIPMENT FOR USE IN EXPLOSIVE ATMOSPHERES (IECEx SYSTEM)**

**Title: ExTAG/563B/CD** – **Draft Revised ExTAG Decision Sheet – Compounded wire-feedthrough constructions between motor frame and terminal box.**

**Circulated to: ExTAG – IECEx Testing and Assessment Group**

**INTRODUCTION**

This document, *ExTAG/563B/CD* *Draft ExTAG Decision Sheet -* C*ompounded wire-feedthrough constructions between motor frame and terminal box* has been prepared by CNEX Global, NL, taking into account comment received on ExTAG/563A/CD, and as recorded in ExTAG/607/CC. Changes to the original version are shown via tracking. It is issued for consideration by ExTAG.

In accordance with OD 035 this document is issued for a six week comment period.

Please submit comments on this new Draft DS using the comments table, a separate document, by –

**2020 08 17**

**to**

**Christine Kane**

|  |
| --- |
| **Address:****IECEx Secretariat** **Level 33 Australia Square****264 George Street** **Sydney NSW 2000****Australia****Web:** [**www.iecex.com**](file://C:\Users\christine.kane\AppData\Local\Microsoft\Windows\Temporary%20Internet%20Files\christine.kane\AppData\Local\Microsoft\Windows\christine.kane\AppData\Local\Microsoft\Windows\Temporary%20Internet%20Files\Content.Outlook\AppData\Local\Users\horn02\AppData\Local\christine.kane\AppData\Local\Microsoft\christine.kane\AppData\Local\Microsoft\Windows\Temporary%20Internet%20Files\Christine.Kane\AppData\Local\Microsoft\Windows\Temporary%20Internet%20Files\AppData\Local\jugauthier\AppData\Local\Temp\notesC9812B\www.iecex.com) |

**COLLECTION OF IECEx / ExTAG DECISION**

|  |  |  |
| --- | --- | --- |
| **Standard:**IEC 60079-1:2014(Edition 7.0) | Clause: 6, 13.7, C.2.1.4 | **Draft Decision Sheet:**ExTAG/563B/CD |
| **Subject:**Compounded wire-feedthrough constructions between motor frame and terminal box**Status of document:** Draft | **Key words:**Electrical machineCemented jointsBushings specific to an enclosure | **Date: 2020 07 06** **Originator of proposal**: CNEX-Global **TC/SC involved:** IEC/TC 31 MT 60079-1 |
| **Background**In the construction of flameproof motors to IEC 60079-1, the electrical connections between stator windings and the terminals in the terminal box, can be established in general in three ways:1. the stator winding wires are connected to separately certified flameproof bushings within the motor frame housing. The motor frame and the terminal box are tested as separate flameproof enclosures.Note on definition:**bushing**insulating device carrying one or more conductors, insulated or bare, through an internal or external wall of an enclosure2. the stator winding wires are led through an opening between the stator frame and the terminal box, after which this opening is compounded to form a bushing which then creates separate flameproof enclosures for the frame and the terminal box. The motor frame and the terminal box are tested as separate flameproof enclosures.3. the stator winding wires are led through an opening between the stator frame and the terminal box, after which this opening is NOT compounded, but remains open. The motor frame and the terminal box are tested together as one enclosure with intercommunicating volumes.This DS considers the requirements for the second option only, as the requirements for the first and third option are considered to be clearly stated in the standards. **Question:**Should a compounded wire-feedthrough (as described above) be evaluated and tested as being a ‘Bushing specific to an enclosure’, conform IEC 60079-1 cl. C.2.1.4 - Bushings?**Answer:** Yes.Regardless of the shape and size of the construction of the compounded wire-feedthrough, the construction is to be evaluated and tested as a bushing that is formed by molding insulation compound on metallic parts and regarding it as being a bushing specific for a flameproof enclosure (that type/size of flameproof motor). The joints between compound and metal housing, and between compound and wires, are considered as cemented joints.Required tests: per IEC 60079-1 cl. 6.1.2 – Cemented joints – Mechanical strength.Note on overpressure test:The overpressure test shall be based upon the reference pressures determined for the stator side and terminal box side of the cement, or on 2000kPa (for Group I) or 3000kPa (for Group II), whichever is the greater |