| IECEx TEST REPORT IEC 60079-0 Explosive atmospheres – Part 0: Equipment – General requirements |  |  |
| --- | --- | --- |
| ExTR Reference Number : |  |  |
| ExTR Free Reference Number : |  |  |
| Compiled by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Reviewed by + signature (ExTL) : | (enter typed name here) | (enter signature here) |
| Date of issue : |  |  |
| Ex Testing Laboratory (ExTL) : |  |  |
| Address : |  |  |
| Applicant’s name : |  |  |
| Address : |  |  |
| Standard : | IEC 60079-0:2011, 6th Edition |  |
| Test procedure : | IECEx System |  |
| Test Report Form Number : | ExTR60079-0-6D-DS (released 2022-07) |  |
| Instructions for Intended Use of Ex Test Report: An Ex Test Report provides a clause-by-clause documentation of the initial evaluation and testing that verified compliance of an item or product with an IEC Ex standard. This Ex Test Report is part of an ExTR package that may include other Ex Test Report, Addendum, National Differences and Partial Testing documents, along with a single ExTR Cover. An Ex Test Report is to be compiled and reviewed by the ExTL. The Issuing ExCB indicates final approval of the Ex Test Report as part of the overall ExTR package on the associated ExTR Cover. |  |  |
| Copyright © 2011 International Electrotechnical Commission System for Certification to Standards Relating to Equipment for use in Explosive Atmospheres (IECEx System), Geneva, Switzerland. All rights reserved. This blank publication may be reproduced in whole or in part for non-commercial purposes as long as the IECEx System is acknowledged as copyright owner and source of the material. The IECEx system takes no responsibility for, and will not assume liability for, damages resulting from the reader's interpretation of the reproduced material due to its placement and context. |  |  |

| Possible test case verdicts: |  |
| --- | --- |
| - test case does not apply to the test item :N / A |  |
| - test item does meet the requirement :Pass |  |
| General remarks: The test results presented in this Ex Test Report relate only to the item or product tested. - "(see Attachment #)" refers to additional information appended to this document. - "(see appended table)" refers to a table appended to this document. - Throughout this document, a point “.” is used as the decimal separator. The technical content of this Ex Test Report shall not be reproduced except in full without the written approval of the Issuing ExCB and ExTL. |  |

| IEC 60079-0 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Clause | Requirement – Test | Result – Remark |  | Verdict |
| 1 | Scope |  |  |  |
| 2 | Normative references |  |  |  |
| 3 | Terms and definitions |  |  |  |
| 4 | Equipment grouping |  |  |  |
| 4.1 | Group I |  |  |  |
| 4.2 | Group II |  |  |  |
| 4.3 | Group III |  |  |  |
| 4.4 | Equipment for a particular explosive atmosphere |  |  |  |
| 5 | Temperatures |  |  |  |
| 5.1 | Environmental influences |  |  |  |
| 5.1.1 | Ambient temperature |  |  |  |
| 5.1.2 DS 2022/002 | External source of heating or cooling |  |  |  |
| 5.2 | Service temperature |  |  |  |
| 5.3 | Maximum surface temperature |  |  |  |
| 5.3.1 | Determination of maximum surface temperature |  |  |  |
| 5.3.2 | Limitation of maximum surface temperature |  |  |  |
| 5.3.2.1 | Group I electrical equipment |  |  |  |
| 5.3.2.2 | Group II electrical equipment |  |  |  |
| 5.3.2.3 | Group III electrical equipment |  |  |  |
| 5.3.2.3.1 | Maximum surface temperature determined without a dust layer |  |  |  |
| 5.3.2.3.2 | Maximum surface temperature with respect to dust layers |  |  |  |
| 5.3.3 | Small component temperature for Group I or Group II electrical equipment |  |  |  |
| 6 | Requirements for all electrical equipment |  |  |  |
| 6.1 | General |  |  |  |
| 6.2 | Mechanical strength of equipment |  |  |  |
| 6.3 | Opening times |  |  |  |
| 6.4 | Circulating currents in enclosures (e.g. of large electrical machines) |  |  |  |
| 6.5 | Gasket retention |  |  |  |
| 6.6 | Electromagnetic and ultrasonic energy radiating equipment |  |  |  |
| 6.6.1 | Radio frequency sources |  |  |  |
| 6.6.2 | Lasers or other continuous wave sources |  |  |  |
| 6.6.3 | Ultrasonic sources |  |  |  |
| 7 | Non-metallic enclosures and non-metallic parts of enclosures |  |  |  |
| 7.1 | General |  |  |  |
| 7.1.1 | Applicability |  |  |  |
| 7.1.2 DS 2011/002B | Specification of materials |  |  |  |
| 7.1.2.1 | General |  |  |  |
| 7.1.2.2 | Plastic materials |  |  |  |
| 7.1.2.3 | Elastomers |  |  |  |
| 7.2 | Thermal endurance |  |  |  |
| 7.2.1 | Tests for thermal endurance |  |  |  |
| 7.2.2 | Material selection |  |  |  |
| 7.2.3 | Alternative qualification of elastomeric sealing O-rings |  |  |  |
| 7.3 | Resistance to light |  |  |  |
| 7.4 | Electrostatic charges on external non-metallic materials |  |  |  |
| 7.4.1 | Applicability |  |  |  |
| 7.4.2 | Avoidance of a build-up of electrostatic charge on Group I or Group II electrical equipment |  |  |  |
| 7.4.3 | Avoidance of a build-up of electrostatic charge on equipment for Group III |  |  |  |
| 7.5 | Accessible metal parts |  |  |  |
| 8 | Metallic enclosures and metallic parts of enclosures |  |  |  |
| 8.1 | Material composition |  |  |  |
| 8.2 | Group I |  |  |  |
| 8.3 | Group II |  |  |  |
| 8.4 | Group III |  |  |  |
| 9 | Fasteners |  |  |  |
| 9.1 | General |  |  |  |
| 9.2 | Special fasteners |  |  |  |
| 9.3 | Holes for special fasteners |  |  |  |
| 9.3.1 | Thread engagement |  |  |  |
| 9.3.2 | Tolerance and clearance |  |  |  |
| 9.3.3 | Hexagon socket set screws |  |  |  |
| 10 | Interlocking devices |  |  |  |
| 11 | Bushings |  |  |  |
| 12 | Materials used for cementing |  |  |  |
| 13 | Ex Components |  |  |  |
| 13.1 | General |  |  |  |
| 13.2 | Mounting |  |  |  |
| 13.3 | Internal mounting |  |  |  |
| 13.4 | External mounting |  |  |  |
| 13.5 | Ex Component certificate |  |  |  |
| 14 | Connection facilities and termination compartments |  |  |  |
| 14.1 | General |  |  |  |
| 14.2 | Termination compartment |  |  |  |
| 14.3 | Type of protection |  |  |  |
| 14.4 | Creepage and clearance |  |  |  |
| 15 | Connection facilities for earthing or bonding conductors |  |  |  |
| 15.1 | Equipment requiring earthing |  |  |  |
| 15.1.1 | Internal |  |  |  |
| 15.1.2 | External |  |  |  |
| 15.2 | Equipment not requiring earthing |  |  |  |
| 15.3 | Size of conductor connection |  |  |  |
| 15.4 | Protection against corrosion |  |  |  |
| 15.5 | Secureness of electrical connections |  |  |  |
| 16 | Entries into enclosures |  |  |  |
| 16.1 | General |  |  |  |
| 16.2 | Identification of entries |  |  |  |
| 16.3 | Cable glands |  |  |  |
| 16.4 | Blanking elements |  |  |  |
| 16.5 | Thread adapters |  |  |  |
| 16.6 | Temperature at branching point and entry point |  |  |  |
| 16.7 | Electrostatic charges of cable sheaths |  |  |  |
| 17 | Supplementary requirements for rotating machines |  |  |  |
| 17.1 | Ventilation |  |  |  |
| 17.1.1 | Ventilation openings |  |  |  |
| 17.1.2 | Materials for external fans |  |  |  |
| 17.1.3 | Cooling fans of rotating machines |  |  |  |
| 17.1.3.1 | Fans and fan hoods |  |  |  |
| 17.1.3.2 | Construction and mounting of the ventilating systems |  |  |  |
| 17.1.3.3 | Clearances for the ventilating system |  |  |  |
| 17.1.4 | Auxiliary motor cooling fans |  |  |  |
| 17.1.5 | Ventilating fans |  |  |  |
| 17.1.5.1 | Applicability |  |  |  |
| 17.1.5.2 | General |  |  |  |
| 17.1.5.3 | Fan and fan hoods |  |  |  |
| 17.1.5.4 | Construction and mounting |  |  |  |
| 17.1.5.5 | Clearances for rotating parts |  |  |  |
| 17.2 | Bearings |  |  |  |
| 18 | Supplementary requirements for switchgear |  |  |  |
| 18.1 | Flammable dielectric |  |  |  |
| 18.2 | Disconnectors |  |  |  |
| 18.3 | Group I – Provisions for locking |  |  |  |
| 18.4 | Doors and covers |  |  |  |
| 19 | Supplementary requirements for fuses |  |  |  |
| 20 | Supplementary requirements for plugs, sockets outlets and connectors |  |  |  |
| 20.1 | General |  |  |  |
| 20.2 | Explosive gas atmospheres |  |  |  |
| 20.3 | Explosive dust atmospheres |  |  |  |
| 20.4 | Energized plugs |  |  |  |
| 21 | Supplementary requirements for luminaires |  |  |  |
| 21.1 | General |  |  |  |
| 21.2 | Covers for luminaires of EPL Mb, EPL Gb, or EPL Db |  |  |  |
| 21.3 | Covers for luminaires of EPL Gc or EPL Dc |  |  |  |
| 21.4 | Sodium lamps |  |  |  |
| 22 | Supplementary requirements for caplights and handlights |  |  |  |
| 22.1 | Group I caplights |  |  |  |
| 22.2 | Group II and Group III caplights and handlights |  |  |  |
| 23 | Apparatus incorporating cells and batteries |  |  |  |
| 23.1 | General |  |  |  |
| 23.2 | Batteries |  |  |  |
| 23.3 | Cell types |  |  |  |
| 23.4 | Cells in a battery |  |  |  |
| 23.5 | Ratings of batteries |  |  |  |
| 23.6 | Interchangeability |  |  |  |
| 23.7 | Charging of primary batteries |  |  |  |
| 23.8 | Leakage |  |  |  |
| 23.9 | Connections |  |  |  |
| 23.10 | Orientation |  |  |  |
| 23.11 | Replacement of cells or batteries |  |  |  |
| 23.12 | Replaceable battery pack |  |  |  |
| 24 | Documentation |  |  |  |
| 25 | Compliance of prototype or sample with documents |  |  |  |
| 26 | Type tests |  |  |  |
| 26.1 | General |  |  |  |
| 26.2 | Test configuration |  |  |  |
| 26.3 | Tests in explosive test mixtures |  |  |  |
| 26.4 | Tests of enclosures |  |  |  |
| 26.4.1 | Order of tests |  |  |  |
| 26.4.1.1 | Metallic enclosures, metallic parts of enclosures and glass parts of enclosures |  |  |  |
| 26.4.1.2 | Non-metallic enclosures or non-metallic parts of enclosures |  |  |  |
| 26.4.1.2.1 | Group I electrical equipment |  |  |  |
| 26.4.1.2.2 | Group II and Group III electrical equipment |  |  |  |
| 26.4.2 | Resistance to impact |  |  |  |
| 26.4.3 | Drop test |  |  |  |
| 26.4.4 | Acceptance criteria |  |  |  |
| 26.4.5 | Degree of protection (IP) by enclosures |  |  |  |
| 26.4.5.1 | Test procedure |  |  |  |
| 26.4.5.2 | Acceptance criteria |  |  |  |
| 26.5 | Thermal tests |  |  |  |
| 26.5.1 | Temperature measurement |  |  |  |
| 26.5.1.1 | General |  |  |  |
| 26.5.1.2 | Service temperature |  |  |  |
| 26.5.1.3 | Maximum surface temperature |  |  |  |
| 26.5.2 | Thermal shock test |  |  |  |
| 26.5.3 | Small component ignition test (Group I and Group II) |  |  |  |
| 26.5.3.1 | General |  |  |  |
| 26.5.3.2 | Procedure |  |  |  |
| 26.5.3.3 | Acceptance criteria |  |  |  |
| 26.6 | Torque test for bushings |  |  |  |
| 26.6.1 | Test procedure |  |  |  |
| 26.6.2 | Acceptance criteria |  |  |  |
| 26.7 | Non-metallic enclosures or non-metallic parts of enclosures |  |  |  |
| 26.7.1 | General |  |  |  |
| 26.7.2 | Test temperatures |  |  |  |
| 26.8 | Thermal endurance to heat |  |  |  |
| 26.9 | Thermal endurance to cold |  |  |  |
| 26.10 | Resistance to light |  |  |  |
| 26.10.1 | Test procedure |  |  |  |
| 26.10.2 | Acceptance criteria |  |  |  |
| 26.11 | Resistance to chemical agents for Group I electrical equipment |  |  |  |
| 26.12 | Earth continuity |  |  |  |
| 26.13 | Surface resistance test of parts of parts of enclosures of non-metallic materials |  |  |  |
| 26.14 | Measurement of capacitance |  |  |  |
| 26.14.1 | General |  |  |  |
| 26.14.2 | Test procedure |  |  |  |
| 26.15 | Verification of ratings of ventilating fans |  |  |  |
| 26.16 | Alternative qualification of elastomeric sealing O-rings |  |  |  |
| 27 | Routine tests |  |  |  |
| 28 | Manufacturer's responsibility |  |  |  |
| 28.1 | Conformity with the documentation |  |  |  |
| 28.2 | Certificate |  |  |  |
| 28.3 | Responsibility for marking |  |  |  |
| 29 | Marking |  |  |  |
| 29.1 | Applicability |  |  |  |
| 29.2 | Location |  |  |  |
| 29.3 | General |  |  |  |
| 29.4 | Ex marking for explosive gas atmospheres |  |  |  |
| 29.5 | Ex marking for explosive dust atmospheres |  |  |  |
| 29.6 | Combined types (or levels) of protection |  |  |  |
| 29.7 | Multiple types of protection |  |  |  |
| 29.8 | Ga equipment using two independent Gb types (or levels) of protection |  |  |  |
| 29.9 | Ex Components |  |  |  |
| 29.10 | Small equipment and small Ex Components |  |  |  |
| 29.11 | Extremely small equipment and extremely small Ex Components |  |  |  |
| 29.12 | Warning markings |  |  |  |
| 29.13 | Alternate marking of equipment protection levels (EPLs) |  |  |  |
| 29.13.1 | Alternate marking of type of protection for explosive gas atmospheres |  |  |  |
| 29.13.2 | Alternate marking of type of protection for explosive dust atmospheres |  |  |  |
| 29.14 | Cells and batteries |  |  |  |
| 29.15 | Converter-fed electrical machines |  |  |  |
| 29.16 | Examples of marking |  |  |  |
| 30 | Instructions |  |  |  |
| 30.1 | General |  |  |  |
| 30.2 | Cells and batteries |  |  |  |
| 30.3 | Electrical machines |  |  |  |
| 30.4 | Ventilating fans |  |  |  |
| Annex A (Normative) | Supplementary requirements for cable glands |  |  |  |
| A.1 | General |  |  |  |
| A.2 | Constructional requirements |  |  |  |
| A.2.1 | Cable sealing |  |  |  |
| A.2.2 | Filling compounds |  |  |  |
| A.2.3 | Clamping |  |  |  |
| A.2.3.1 | General |  |  |  |
| A.2.3.2 | Group II or III cable glands |  |  |  |
| A.2.4 | Lead-in of cable |  |  |  |
| A.2.4.1 | Sharp edges |  |  |  |
| A.2.4.2 | Point of entry |  |  |  |
| A.2.5 | Released by a tool |  |  |  |
| A.2.6 | Fixing |  |  |  |
| A.2.7 | Degree of protection |  |  |  |
| A.3 | Type tests |  |  |  |
| A.3.1 | Tests of clamping of non-armoured and braided cables |  |  |  |
| A.3.1.1 | Cable glands with clamping by the sealing ring |  |  |  |
| A.3.1.2 | Cable glands with clamping by filling compound |  |  |  |
| A.3.1.3 | Cable glands with clamping by means of a clamping device |  |  |  |
| A.3.1.4 | Tensile test |  |  |  |
| A.3.1.5 | Mechanical strength |  |  |  |
| A.3.2 | Tests of clamping of armoured cables |  |  |  |
| A.3.2.1 | Tests of clamping where the armourings are clamped by a device within the gland |  |  |  |
| A.3.2.1.1 | Tensile test |  |  |  |
| A.3.2.1.2 | Mechanical strength |  |  |  |
| A.3.2.2 | Tests of clamping where the armourings are not clamped by a device within the gland |  |  |  |
| A.3.3 | Type test for resistance to impact |  |  |  |
| A.3.4 | Test for degree of protection (IP) of cable glands |  |  |  |
| A.4 | Marking |  |  |  |
| A.4.1 | Marking of cable glands |  |  |  |
| A.4.2 | Marking of cable-sealing rings |  |  |  |
| Annex B (Normative) | Requirements for Ex Components |  |  |  |
| Table B.1 | Clauses with which Ex Components shall comply |  |  |  |
| Annex C (Informative) | Example of rig for resistance to impact test |  |  |  |
| Annex D (Informative) | Motors supplied by converters |  |  |  |
| Annex E (Informative) | Temperature rise testing of electric machines |  |  |  |
| Annex F (Informative) | Guideline flowchart for tests of non-metallic enclosures or non-metallic parts of enclosures (26.4) |  |  |  |

Measurement Section, including Additional Narrative Remarks (as deemed applicable)